INSPECTION AND TESTING FORM

| Date: |  | Time: |  |
| --- | --- | --- | --- |

SERVICE ORGANIZATION

| Name: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |
| Representative: |  |  |  |  |  |
| License No.: |  |  |  |  |  |
| Telephone: |  |  |  |  |  |

MONITORING ENTITY

| Contact: |  |  |  |
| --- | --- | --- | --- |
| Telephone: |  |  |  |
| Monitoring Account Ref. No.: |  |  |  |

TYPE TRANSMISSION

McCulloh      Multiplex      Digital

Reverse Priority      RF

| Other (Specify) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Control Unit Manufacturer: |  |  |  |  |  |  |
| Model No.: |  |  |  |  |  |  |
| Circuit Styles: |  |  |  |  |  |  |
| Number of Circuits: |  |  |  |  |  |  |
| Software Rev.: |  |  |  |  |  |  |

PROPERTY NAME (USER)

| Name: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Address: |  |  |  |  |
| Owner Contact: |  |  |  |  |
| Telephone: |  |  |  |  |

APPROVING AGENCY

| Contact: |  |  |
| --- | --- | --- |
| Telephone: |  |  |

SERVICE

Weekly      Monthly      Quarterly

Semiannually      Annually

| Other (Specify) |  |
| --- | --- |

| Last Date System Had Any Service Performed: |  |  |
| --- | --- | --- |
| Last Date That Any Software or Configuration Was Revised: |  |  |

ALARM-INITIATING DEVICES AND CIRCUIT INFORMATION

| Quantity of Devices Installed |  | Circuit Style |  | Quantity of Devices Tested |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Manual Fire Alarm Boxes |  |
|  |  |  |  |  | Ion Detectors |  |
|  |  |  |  |  | Photo Detectors |  |
|  |  |  |  |  | Duct Detectors |  |
|  |  |  |  |  | Heat Detectors |  |
|  |  |  |  |  | Waterflow Switches |  |
|  |  |  |  |  | Supervisory Switches |  |
|  |  |  |  |  | Other (Specify): |  |

Alarm verification feature is    disabled      enabled

ALARM NOTIFICATION APPLIANCES AND CIRCUIT INFORMATION

| Quantity of Appliances Installed |  | Circuit Style |  |  | Quantity of Appliances Tested |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Bells |  |
|  |  |  |  |  |  |  | Horns |  |
|  |  |  |  |  |  |  | Chimes |  |
|  |  |  |  |  |  |  | Strobes |  |
|  |  |  |  |  |  |  | Speakers |  |
|  |  |  |  |  |  |  | Other (Specify): |  |
| No. of alarm notification appliance circuits: |  |  |  |  |  |  |  |  |

Are circuits monitored for integrity?      Yes      No

SUPERVISORY SIGNAL-INITIATING DEVICES AND CIRCUIT INFORMATION

| Quantity of Devices Installed |  | Circuit Style |  | Quantity of Devices Tested |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Building Temp. |  |  |
|  |  |  |  |  | Site Water Temp. |  |  |
|  |  |  |  |  | Site Water Level |  |  |
|  |  |  |  |  | Fire Pump Power |  |  |
|  |  |  |  |  | Fire Pump Running |  |  |
|  |  |  |  |  | Fire Pump Auto Position |  |  |
|  |  |  |  |  | Fire Pump or Pump Controller Trouble |  |  |
|  |  |  |  |  | Fire Pump Running |  |  |
|  |  |  |  |  | Generator in Auto Position |  |  |
|  |  |  |  |  | Generator or Controller Trouble |  |  |
|  |  |  |  |  | Switch Transfer |  |  |
|  |  |  |  |  | Generator Engine Running |  |  |
|  |  |  |  |  | Other (Specify): |  |  |

SIGNALING LINE CIRCUITS

Quantity and style of signaling line circuits connected to system (see NFPA 72®, Table 6.6.1):

| Quantity |  | Style(s) |  |
| --- | --- | --- | --- |

SYSTEM POWER SUPPLIES

| (a) Primary (Main): Nominal Voltage |  |  |  | Amps |  |
| --- | --- | --- | --- | --- | --- |
| Overcurrent Protection: Type |  |  |  | Amps |  |
| Location (of Primary Supply Panelboard): |  |  |  |  |  |
| Disconnecting Means Location: |  |  |  |  |  |

(b) Secondary (Standby):

|  |  |  | Storage Battery: Amp-Hr Rating |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Calculated capacity in |  |  |  | Amp-Hrs to operate system for |  |  |  | hours |
| Engine-driven generator dedicated to fire alarm system: |  |  |  |  |  |  |  |  |
| Location of fuel storage: |  |  |  |  |  |  |  |  |

TYPE BATTERY

| Dry Cell | Lead-Acid |  |
| --- | --- | --- |
| Nickel-Cadmium | Other (Specify): |  |
| Sealed Lead Acid |  |  |

(c) Emergency or standby system used as a backup to primary power supply, instead of using a secondary power supply:

|  | Emergency system described in NFPA 70®, Article 700 |
| --- | --- |
|  | Legally required standby described in NFPA 70®, Article 701 |
|  | Optional standby system described in NFPA 70®, Article 702, which also meets the performance requirements of Article 700 or 701 |

PRIOR TO ANY TESTING

| NOTIFICATIONS ARE MADE | Yes | No | Who |  | Time |
| --- | --- | --- | --- | --- | --- |
| Monitoring Entity |  |  |  |  |  |
| Building Occupants |  |  |  |  |  |
| Building Management |  |  |  |  |  |
| Other (Specify) |  |  |  |  |  |
| AHJ Notified of Any Impairments |  |  |  |  |  |

SYSTEM TESTS AND INSPECTIONS

| TYPE | Visual | Functional | Comments |
| --- | --- | --- | --- |
| Control Unit |  |  |  |
| Interface Equipment |  |  |  |
| Lamps/LEDs |  |  |  |
| Fuses |  |  |  |
| Primary Power Supply |  |  |  |
| Trouble Signals |  |  |  |
| Disconnect Switches |  |  |  |
| Ground-Fault Monitoring |  |  |  |

SECONDARY POWER

| TYPE | Visual | Functional | Comments |
| --- | --- | --- | --- |
| Battery Condition |  |  |  |
| Load Voltage |  |  |  |
| Discharge Test |  |  |  |
| Charger Test |  |  |  |
| Specific Gravity |  |  |  |
| TRANSIENT SUPPRESSORS |  |  |  |
| REMOTE ANNUNCIATORS |  |  |  |
| NOTIFICATION APPLIANCES |  |  |  |
| Audible |  |  |  |
| Visible |  |  |  |
| Speakers |  |  |  |
| Voice Clarity |  |  |  |

INITIATING AND SUPERVISORY DEVICE TESTS AND INSPECTIONS

| Loc. & S/N |  | Device Type | Visual Check | Functional Test | Factory Setting |  | Measured Setting | Pass | Fail |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Comments:

| EMERGENCY COMMUNICATIONS EQUIPMENT |  | Visual |  | Functional |  | Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Phone Set |  |  |  |  |  |  |  |  |
| Phone Jacks |  |  |  |  |  |  |  |  |
| Off-Hook Indicator |  |  |  |  |  |  |  |  |
| Amplifier(s) |  |  |  |  |  |  |  |  |
| Tone Generator(s) |  |  |  |  |  |  |  |  |
| Call-in Signal |  |  |  |  |  |  |  |  |
| System Performance |  |  |  |  |  |  |  |  |
|  |  |  | Visual |  | Device Operation |  | Simulated Operation |  |
| COMBINATION SYSTEMS |  |  |  |  |  |  |  |  |
| Fire Extinguisher Monitoring Device/System |  |  |  |  |  |  |  |  |
| Carbon Monoxide Detector/System |  |  |  |  |  |  |  |  |
| (Specify) |  |  |  |  |  |  |  |  |
| INTERFACE EQUIPMENT |  |  |  |  |  |  |  |  |
| (Specify) |  |  |  |  |  |  |  |  |
| (Specify) |  |  |  |  |  |  |  |  |
| (Specify) |  |  |  |  |  |  |  |  |
| SPECIAL HAZARD SYSTEMS |  |  |  |  |  |  |  |  |
| (Specify) |  |  |  |  |  |  |  |  |
| (Specify) |  |  |  |  |  |  |  |  |
| (Specify) |  |  |  |  |  |  |  |  |

Special Procedures:

Comments:

| SUPERVISING STATION MONITORING | Yes | No | Time |  | Comments |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Alarm Signal |  |  |  |  |  |  |  |
| Alarm Restoration |  |  |  |  |  |  |  |
| Trouble Signal |  |  |  |  |  |  |  |
| Trouble Signal Restoration |  |  |  |  |  |  |  |
| Supervisory Signal |  |  |  |  |  |  |  |
| Supervisory Restoration |  |  |  |  |  |  |  |
| NOTIFICATIONS THAT TESTING IS COMPLETE | Yes | No | Who |  |  |  | Time |
| Building Management |  |  |  |  |  |  |  |
| Monitoring Agency |  |  |  |  |  |  |  |
| Building Occupants |  |  |  |  |  |  |  |
| Other (Specify) |  |  |  |  |  |  |  |

The following did not operate correctly:

| System restored to normal operation: | Date: |  | Time: |  |
| --- | --- | --- | --- | --- |

THIS TESTING WAS PERFORMED IN ACCORDANCE WITH APPLICABLE NFPA STANDARDS

| Name of Inspector: |  |  |  | Date: |  | Time: |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Signature: |  |  |  |  |  |  |  |
| Name of Owner or Representative: |  |  |  | Date: |  | Time: |  |
| Signature: |  |  |  |  |  |  |  |